## Slide 1: Ping Well Taxidermy
2020.878A-C

## Slide 2: 2020.878A 40kV, 15 uA, 60s, 3mm collimator, no vacuum Acquistion 1: Top of Deer’s nose – Major As, Trace Br

## Slide 3: 2020.878B 40kV, 15 uA, 60s, 3mm collimator, no vacuum 2_top of wolf’s nose – Major As, Minor Br

## Slide 4: 2020.878C 40kV, 15 uA, 60s, 3mm collimator, no vacuum 3_goat’s forehead – Major As, Minor Br